## Cable Voltage Drop Check
Cable Voltage Drop Check
Check voltage drop for several circuits. Take mV/A/m from the cable manufacturer table.
Nominal voltage (V) | 400
Allowed max % | 5%
Circuit | Current (A) | Length (m) | mV/A/m | Drop (V) | Status
Sub-panel 1 | 63 | 40 | 1.1 | 2.772 | OK
Pump | 25 | 60 | 2.5 | 3.75 | OK
Outdoor lighting | 16 | 120 | 4.4 | 8.448 | OK
0
0
0
0
0
0
0
The calculation is approximate. Check it against the applicable code before construction.