## Solar PV
Solar PV Calculator: Panels, Inverter, Savings and Payback
Enter your monthly use, city and tariff; the sheet sizes the plant, its monthly output, yearly savings and payback over 25 years
Site and system | [7 empty] | City | PSH | kW
City | Riyadh |  |  | Plant size (kWp) |  | Number of panels |  | Riyadh | 6.3 | 3
Peak sun hours (kWh/m²/day) | [7 empty] | Jeddah | 6.1 | 5
System type | Grid-tied (net metering) | [6 empty] | Makkah | 6.2 | 6
Target share of consumption | 80% |  |  | Annual output (kWh) |  | Yearly savings (SAR) |  | Madinah | 6.3 | 8
Performance ratio (heat, cables, dust) | 0.8 | [6 empty] | Dammam / Khobar | 5.8 | 10
Panel power | 580 | Wp | [5 empty] | Abha | 5.9 | 12
Panel area | 2.58 | m² |  | Payback (years) |  | Actual coverage |  | Tabuk | 6.2 | 15
Available roof area | 150 | m² | [5 empty] | Hail | 6.1 | 20
Inverter DC/AC ratio | 1.2 | [6 empty] | Najran | 6.4 | 25
Tariff and cost |  |  |  | Recommended inverter (kW) |  |  |  | Jazan | 5.9 | 30
Tier 1 limit per month | 6000 | kWh |  | Panel area needed (m²) |  |  |  | Dubai | 5.7 | 40
Tier 1 rate | 0.18 | per kWh |  | Roof check |  |  |  | Abu Dhabi | 5.8 | 50
Tier 2 rate | 0.3 | per kWh |  | Battery capacity (kWh) |  |  |  | Kuwait City | 5.5 | 60
Export credit rate | 0.1 | per kWh |  | Total cost (SAR) |  |  |  | Doha | 5.7 | 80
Installed cost per kWp | 3000 | SAR |  | Yield per kWp (kWh/yr) |  |  |  | Muscat | 5.9 | 100
Battery cost per kWh | 2000 | SAR |  | CO₂ avoided (t/yr) |  |  |  | Manama | 5.6 | 150
Battery autonomy | 6 | h |  | Cost per kWh over 25 years |  |  |  | Cairo | 5.9 | 200
Panel degradation per year | 0.5% | [6 empty] | Amman | 5.7 | 250
Tariff escalation per year | 0% | [6 empty] | Baghdad | 5.5
O&M per year (% of cost) | 1% | [6 empty] | Khartoum | 6.2
Grid emissions (kg CO₂/kWh) | 0.6 | [6 empty] | Tunis | 5.3
[8 empty] | Casablanca | 5
Monthly consumption and production
Month | Use kWh | Days | Season idx | PV output kWh | Bill before | Bill after | Savings
Jan | 1800 | 31 | 0.72
Feb | 1700 | 28 | 0.82
Mar | 2200 | 31 | 0.98
Apr | 3200 | 30 | 1.08
May | 4600 | 31 | 1.18 |  |  |  |  | System types
Jun | 6400 | 30 | 1.22 |  |  |  |  | Grid-tied (net metering)
Jul | 7000 | 31 | 1.18 |  |  |  |  | Hybrid with batteries
Aug | 7000 | 31 | 1.15 |  |  |  |  | Off-grid
Sep | 5800 | 30 | 1.07
Oct | 3800 | 31 | 0.95
Nov | 2300 | 30 | 0.78
Dec | 1800 | 31 | 0.67
Total
25-year cash flow
Year | Output kWh | Savings | O&M | Net | Cumulative | Payback
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25

## Guide
How to use: Solar PV Calculator: Panels, Inverter, Savings and Payback
Sheetaky.com · Ready Excel sheets in Arabic and English
What is this sheet?
The sheet sizes a solar plant for a home or facility from your monthly consumption and city, then shows monthly output, savings under tiered tariffs, payback and the real cost per kWh over 25 years.
Steps
1 | Pick the city, system type and target share of consumption.
2 | Enter each month consumption from your bills.
3 | Edit tariff and cost to match your current provider.
4 | Read plant size, panels, inverter and payback.
Color legend
Input cell: type or choose your value here (blue text on yellow).
Calculated cell: automatic formula, protected from accidental edits.
Table and section headers.
Important notes
• | Peak sun hours are approximate city values; use Global Solar Atlas or PVGIS data for your site before buying.
• | Season indexes are editable and normalised so the annual output stays the same.
• | Tariff and export credit are examples; apply your utility rules.
• | Sheets are protected without a password to keep formulas safe. To unprotect: Review → Unprotect Sheet.
• | The data shown is a worked example. Clear it and type your own data in the yellow cells only.
• | More free sheets in Arabic and English at Sheetaky.com